### Project Internet Energy Counter

Artyom Somushkin, Nataly Somushkina, Vladimir Pogorilyy

### Internet Energy Counter (in future-IEC) is purposed for measuring of spent (produced) electric energy, and also other resources (water, gas), with feature of viewing measurement results from the Internet.

The view of the IEC is shown on Fig. 1.

Figure 1: The view of the IEC.

### As the source of signal, IEC uses pulse output of digital energy counters. The IEC can be connected to digital energy counters of the other resources (water, gas), if they have pulse output.

### The IEC connects to Internet through connector RJ45. The IEC shows information from the website that is stored in the internal memory of the IEC through HTTP protocol.

## Functional block diagram is showed on the Fig.2.

Figure 2: Functional block diagram.

## The device consists of next blocks:

- embedded web server – WEB PC;

- single-chip Microcontroller;

- Read Time Clock with non-volatile static RAM and Back-Up battery.

## Basic technical characteristics of the IEC are in Table 1.

Table 1

| Power supply voltage: | +7 … +35V DC |
| --- | --- |
| Power consumption: | < 1 Watt |
| Operational temperature: | 0°C … +70°C |
| Outline dimensions: | 100x70x20 mm |

### The IEC provides viewing from the Internet next measurement parameters:

- total spent (produced) electric energy in kWatt•hours ( accurate up to 1 Watt•hours);

- active spent  (produced) power in Watts;

- total spent (produced) electric energy during last month. Unit is kWatt•hours;

- total spent (produced) electric energy during last day. Unit is kWatt•hours;

- current time: hours, minutes, data, month and year.

### The IEC provides feature of changing next parameters from the Internet:

- total spent (produced) electric energy;

- current time: hours, minutes, data, month and year.

Parameters are protected from unauthorized changing with password.

All measured parameters are stored into Energy – independent (non-volatile) memory. After applying the power, the IEC reads these parameters from NV RAM. In this case the feature of restoring parameters after power supply fail is provided.

The IEC provides the feature of updating the website and uploading it to the IEC with utility program – Site Linker.

For accessing the IEC website the Internet Explorer should be started on users PC. In address row enter: http://141.37.152.101 , where 141.37.152.101 – the IEC IP address.

# Text boxes

PC

2-wire

Battery

RTC and NV SRAM

INTERNET

Energy counter

RS232

RS232

Password configuration

Data

HTTP

TCP/IP

mC

Web site upload

WEB PC

Web site

Configuration

Pulse output

Password configuration